## PV_Storage_Transformer Info
Consider this data for the PV panels: |  |  | Consider this data for the Storage sets: |  |  | If you want to set up a PV plant in rented areas consider this rent cost
| Value | Unit |  | Value | Unit
Photovoltaic Panel |  |  | Storage type A |  |  | Land rent Cost | 4000 | Euro per hectare per year
PV power | 270 | W | Capacity | 2000 | Wh
PV area | 1.65 | sqm | Power | 1500 | W
Fixed Costs | 100 | eur | Cost (inc. installation) | 3500 | eur | Consider that all the meters are connected to a Secondary substation with one transformer
Variable costs per panel | 600 | eur
Dimensions |  |  | Storage type B |  |  | Transformer rated power for continuous use | 400 | kVA
Height | 1665 | mm | Capacity | 4500 | Wh | For reference, there are other power transformers with 250kVA and 630kVA rated power that are used by the DSO.
Width | 998 | mm | Power | 2500 | W
Depth | 40 | mm | Cost (inc. installation) | 4800 | eur

## Building Info
Average building and load values - Consider these values as a reference for the buildings |  |  |  |  | Suggestion of clients to allocate to one Small, Medium and Large building:
As stated feel free to use other meters do develop further use cases.
Building type | Units | Small | Medium | Large | Small |  | Medium |  | Large
Number of Floors in the building | # | 2 | 4 | 7 | Anciliary services | Clients | Anciliary services | Clients | Anciliary services | Clients
Number of Flats in the building | # | 2 | 8 | 28 | meter_218 | meter_139 | meter_216 | meter_26 | meter_217 | meter_78 | meter_110
Average load Building | [MWh] | 5.8 | 21.4 | 75.4 |  | meter_204 |  | meter_54 |  | meter_84 | meter_27
Maximum number of Panels | # | 6 | 16 | 40 |  |  |  | meter_86 |  | meter_60 | meter_62
[8 empty] | meter_199 |  | meter_107 | meter_103
[8 empty] | meter_19 |  | meter_54 | meter_133
[8 empty] | meter_32 |  | meter_106 | meter_143
[8 empty] | meter_59 |  | meter_32 | meter_151
[8 empty] | meter_207 |  | meter_158 | meter_6
[10 empty] | meter_58 | meter_126
[10 empty] | meter_48 | meter_121
[10 empty] | meter_4 | meter_159
[10 empty] | meter_118 | meter_108
[10 empty] | meter_148 | meter_52
[10 empty] | meter_204 | meter_147

## Regulated Tariffs ERSE
Low Voltage retail prices for the regulated market in continental Portugal
RETAIL CUSTOMER TARIFF FOR LOW VOLTAGE (<=20,7 kVA e >2,3 kVA) |  |  | PRICE
Contracted Power | Tariff Type | (kVA) | (EUR/month) | (EUR/day) *
|  | 3.45 | 5 | 0.1645
|  | 4.6 | 6.5 | 0.2138
| Simple Tariff , Time of Use-Two Periods and Time of Use-Three Periods | 5.75 | 7.99 | 0.2628
|  | 6.9 | 9.48 | 0.3118
|  | 10.35 | 13.96 | 0.4589
|  | 13.8 | 18.43 | 0.606
|  | 17.25 | 22.91 | 0.7531
|  | 20.7 | 27.38 | 0.9001
Active Energy | Tariff Type |  | (EUR/kWh)
| Simple Tariff <=6,9 kVA |  | 0.1557
| Simple Tariff >6,9 kVA |  | 0.1559
| Time-of-Use two periods <=6,9 kVA | Peak periods | 0.1875
|  | Off-peak periods | 0.1024
| Time-of-Use two periods >6,9 kVA | Peak periods | 0.189
|  | Off-peak periods | 0.1025
| Time-of-Use three periods <=6,9 kVA | Peak periods | 0.2246
|  | Off-peak periods | 0.1682
|  | Super Off-peak periods | 0.1024
| Time-of-Use three periods >6,9 kVA | Peak periods | 0.2287
|  | Off-peak periods | 0.1704
|  | Super Off-peak periods | 0.1025
* RRC art. 119.º, n.º 6
RETAIL CUSTOMER TARIFF FOR LOW VOLTAGE (<=2,3 kVA) |  |  | PRICE
Contracted Power | Tariff Type | (kVA) | (EUR/month) | (EUR/day) *
| Simple Tariff | 1.15 | 2.47 | 0.0811
| Time-of-Use two and three periods | 2.3 | 4.33 | 0.1423
Active Energy | Tariff Type |  | (EUR/kWh)
| Simple Tariff |  | 0.1447
| Time-of-Use two periods | Peak periods | 0.1875
|  | Off-peak periods | 0.1024
| Time-of-Use three periods | Peak periods | 0.2246
|  | Off-peak periods | 0.1682
|  | Super Off-peak periods | 0.1024
http://www.erse.pt/pt/electricidade/tarifaseprecos/2019/Paginas/default.aspx
https://simulador.precos.erse.pt/Admin/csvs/20190510%20150425%20CSV.zip

## Regulated Tariffs ERSEnon-table
Contracted Power | Tariff Type | Power Cost eur/day | Peak Periods Energy Cost eur/kwh | Off-Peak periods Energy Cost eur/kwh | Super Off-Peak Energy Cost eur/kwh
3,45 | Simple Tariff | 0,1645 | 0,1557 | - | -
4,6 | Simple Tariff | 0,2138 | 0,1557 | - | -
5,75 | Simple Tariff | 0,2628 | 0,1557 | - | -
6,9 | Simple Tariff | 0,3118 | 0,1557 | - | -
10,35 | Simple Tariff | 0,4589 | 0,1559 | - | -
13,8 | Simple Tariff | 0,606 | 0,1559 | - | -
17,25 | Simple Tariff | 0,7531 | 0,1559 | - | -
20,7 | Simple Tariff | 0,9001 | 0,1559 | - | -
3,45 | Time-of-Use two periods | 0,1645 | 0,1875 | 0,1024 | -
4,6 | Time-of-Use two periods | 0,2138 | 0,1875 | 0,1024 | -
5,75 | Time-of-Use two periods | 0,2628 | 0,1875 | 0,1024 | -
6,9 | Time-of-Use two periods | 0,3118 | 0,1875 | 0,1024 | -
10,35 | Time-of-Use two periods | 0,4589 | 0,189 | 0,1025 | -
13,8 | Time-of-Use two periods | 0,606 | 0,189 | 0,1025 | -
17,25 | Time-of-Use two periods | 0,7531 | 0,189 | 0,1025 | -
20,7 | Time-of-Use two periods | 0,9001 | 0,189 | 0,1025 | -
3,45 | Time-of-Use three periods | 0,1645 | 0,2246 | 0,1682 | 0,1024
4,6 | Time-of-Use three periods | 0,2138 | 0,2246 | 0,1682 | 0,1024
5,75 | Time-of-Use three periods | 0,2628 | 0,2246 | 0,1682 | 0,1024
6,9 | Time-of-Use three periods | 0,3118 | 0,2246 | 0,1682 | 0,1024
10,35 | Time-of-Use three periods | 0,4589 | 0,2287 | 0,1704 | 0,1025
13,8 | Time-of-Use three periods | 0,606 | 0,2287 | 0,1704 | 0,1025
17,25 | Time-of-Use three periods | 0,7531 | 0,2287 | 0,1704 | 0,1025
20,7 | Time-of-Use three periods | 0,9001 | 0,2287 | 0,1704 | 0,1025

## Holidays & Daylight Saving Time
Date | Holiday | National/Local | Daylight saving time - Always in the last Sunday of March and Last Sunday of October
2016-10-05 | Republic Day | National
2016-11-01 | All Saints Day | National | Spring Forward, Summer Time, and Daylight Savings Time - Daylight Saving Time Started
2016-12-01 | Restoration of Independence | National
2016-12-08 | Immaculate Conception | National | 2016, Sunday 27th of March | 1:00:00 clocks were turned forward 1 hour to | Sunday, 27th of March | 2:00:00 local daylight time instead.
2016-12-25 | Christmas | National | 2017, Sunday 26th of March |  | Sunday, 26th of March
2017-01-01 | New Year's Day | National | 2018, Sunday 25th of March |  | Sunday, 25th of March
2017-04-14 | Good Friday | National
2017-04-16 | Easter | National | Fall Back and Winter Time - Daylight Saving Time Ends
2017-04-25 | Freedom day | National
2017-05-01 | Labor Day | National | 2016, Sunday 30th of October | 2:00:00 clocks are turned backward 1 hour to | 2016, Sunday 30th of October | 1:00:00 local daylight time instead.
2017-06-10 | Portugal Day | National | 2017, Sunday 29th of October |  | 2017, Sunday 29th of October
2017-06-13 | Saint Anthony | Local(Lisboa) | 2018, Sunday 28th of October |  | 2018, Sunday 28th of October
2017-06-15 | Corpus Christi | National
2017-08-15 | Assumption | National
2017-10-05 | Republic Day | National
2017-11-01 | All Saints Day | National
2017-12-01 | Restoration of Independence | National
2017-12-08 | Immaculate Conception | National
2017-12-25 | Christmas | National
2018-01-01 | New Year's Day | National
2018-03-30 | Good Friday | National
2018-04-01 | Easter | National
2018-04-25 | Freedom day | National
2018-05-01 | Labor Day | National
2018-06-10 | Portugal Day | National
2018-06-13 | Saint Anthony | Local(Lisboa)
2018-06-15 | Corpus Christi | National
2018-08-15 | Assumption | National